Fire Extinguisher Inspection on Mobile equipment


	No
	Type of Mobile Equipment
	Dept/Company
	No/Rego
	Pass
	Fail
	Comment
	Photo

	1
	Wheel Dozer
	Mining 
	004
	· 
	
	Fitted with AFFF system
	

	2
	Roller
	Mining 
	002
	
	· 
	Spent, requires replacement 9Kg DCP, wear marks observed
	[image: image1.jpg]




	3
	Kotmatsu Grader
	ODR
	GD705A
	
	· 
	Spent, requires replacement
	

	4
	Roller
	MV-DC
	7
	
	· 
	Spent, requires replacement
	

	5
	Roller
	MV-DC
	11
	
	· 
	Spent, requires replacement and poor bracket design requires redesign
	[image: image2.jpg]




	6
	ADT
	MV-DC
	10
	· 
	
	Currently fitted with 1.5Kg DCP this would be fine if extinguishing cigarette butts would suggest to fit AFFF system or at least 9Kg DCP 
	

	7
	ADT
	MV-DC
	9
	· 
	
	As above
	

	8
	ADT
	MV-DC
	8
	· 
	
	As above
	

	9
	ADT
	MV-DC
	7
	
	· 
	Not fitted, fire extinguisher required 
	

	10
	ADT
	MV-DC
	6
	
	· 
	Not fitted, fire extinguisher required

	

	No
	Type of Mobile Equipment
	Dept/Company
	No/Rego
	Pass
	Fail
	Comment
	Photo

	11
	Lighting truck
	MV-DC
	2
	
	· 
	Spent, poor bracket design
	[image: image3.jpg]




	12
	Excavator
	MV-DC
	25
	
	· 
	Spent, poor bracket design
	

	13
	Excavator
	MV-DC
	37
	
	
	Wear marks observed, poor bracket design
	[image: image4.jpg]




	14
	Excavator
	MV-DC
	11
	
	· 
	Laying down inside cab, requires to be fitted into bracket
	[image: image5.jpg]




	15
	Roller
	MV-DC
	17
	
	· 
	No bracket held with rags, hose broken of


	

	No
	Type of Mobile Equipment
	Dept/Company
	No/Rego
	Pass
	Fail
	Comment
	Photo

	16
	Roller
	MV-DC
	6
	
	· 
	Held in by rags, wear marks observed
	[image: image6.jpg]




	17
	Roller
	MV-DC
	14
	
	· 
	Poor braket design, wear marks observed
	[image: image7.jpg]




	18
	Roller
	MV-DC
	10
	
	· 
	Spent, requires replacement, poor bracket design
	

	19
	Roller
	MV-DC
	4
	
	· 
	Severe dents, spent, poor bracket design
	[image: image8.jpg]




	20
	Roller
	MV-DC
	3
	
	· 
	Wear marks observed
	[image: image9.jpg]




	21
	Roller
	MV-DC
	8
	
	· 
	No bracket held by rags, no hose
	[image: image10.jpg]-:., EIPNSS
(51





	22
	Roller
	MV-DC
	2
	
	· 
	No bracket held in by rags
	[image: image11.jpg]





